## Sheet1
POSITION	NAME	CONNECTION				LADDER ID	NOTE
1	Scintillator 1-2	other DAQ system
2	Y1	channel	7	@ TRB	1	31
3	X1	channel	6	@ TRB	1	30
4	Y2	channel	1	@ TRB	1	25
5	X2	channel	0	@ TRB	1	24
6	Y3	channel	0	@ TRB	3	72
7	X3	channel	1	@ TRB	3	73
8	LPFM116B	channel	7	@ TRB	4	103
9	LGFM072T	channel	6	@ TRB	4	102
10	LGFM057T	NC					High leakage current
11	LGFM018B	channel	1	@ TRB	4	97	Special bonding
12	LGFM069T	NC					EQM Vas
13	LGFM074T	channel	0	@ TRB	4	96
14	LGFM073T	NC
15	LGFM031T	channel	7	@ TRB	5	127
16	LPFM999B	channel	6	@ TRB	5	126	4 Si Prototype
17	LPFM031B	NC					VA mix
18	LGFM071T	channel	1	@ TRB	5	121
19	LPFM069B	channel	0	@ TRB	5	120
20	Y4	channel	6	@ TRB	3	78
21	X4	channel	7	@ TRB	3	79
22	Y5	channel	0	@ TRB	0	0
23	X5	channel	1	@ TRB	0	1
24	Y6	channel	6	@ TRB	0	6
25	X6	channel	7	@ TRB	0	7
26	Scintillator 3-4	other DAQ system