## LOG
RUN number | Run type | Shifter | Start time | Beam type | Number of events in Scint. | Number of events in TRB | Spill Period, sec | Description of the run | Trigger threshold | Scintillator data file name
666862
25 | TEST |  |  | No stable | ---- |  |  | The calibration are taken at the beginning of the run. Calib might have some "signal" no good run. TRB 0 and TRB 3 ladders 0 and 6 for both
26 | TEST |  |  | Stable A/Z = 2 | ---- |  |  | The calibration are taken at the beginning of the run.
29 | TEST |  |  | A/Z = 2 | ---- |  |  | The calibration are taken at the beginning of the run.
30 | TEST |  |  | A/Z = 2 | ---- |  |  | The calibration are taken at the beginning of the run.
31 | CAL |  |  | A/Z = 2 | ----
32 | TEST |  |  | A/Z = 2 | ---- |  |  | Only data
33 | CAL |  |  | A/Z = 2 | ---- |  |  | Calibration
34 | TEST |  |  | A/Z = 2 | ---- |  |  | No data. Access required from GLIMOS
100 | CAL |  |  | A/Z = 2 | ---- |  |  | 2 ADLinks connected
101 | TEST |  |  | A/Z = 2 | ---- |  |  |  |  | 02-02_26-Nov-2016
102 | CAL |  |  | A/Z = 2 | ----
103 | TEST |  |  | A/Z = 2 | ---- |  |  |  |  | 02-39_26-Nov-2016
106 | CAL |  |  | A/Z = 2 | ----
107 | TEST |  |  | A/Z = 2 | ---- |  |  |  |  | 04-32_26-Nov-2016
108 | CAL |  |  | A/Z = 2 | ----
109 | TEST |  |  | A/Z = 2 | ---- |  |  |  |  | 05-30_26-Nov-2016
110 | CAL |  |  | A/Z = 2 | ----
111 | TEST |  |  | A/Z = 2 | ---- |  |  |  |  | 06-31_26-Nov-2016
112 | CAL |  |  | A/Z = 2 | ----
113 | TEST |  |  | A/Z = 2 | ---- |  |  | RUNNING ... Good morning Valentina :-) |  | 07-52_26-Nov-2016
114 | CAL |  |  | A/Z = 2 | ----
115 | INVALID |  |  | A/Z = 2 | ---- |  |  | Wrong sync with ext trigger
116 | TEST |  |  | A/Z = 2 | ---- |  |  | Very 1st event might be only in the TRB |  | 09-09_26-Nov-2016
117 | CAL |  |  | A/Z = 2 | ----
118 | TEST |  |  | A/Z = 2 | ---- |  |  |  |  | 09-59_26-Nov-2016
119 | CAL |  |  | A/Z = 2 | ----
120 | TEST |  |  | A/Z = 2 | ---- |  |  |  |  | 10-40_26-Nov-2016
121 | TEST |  |  | A/Z = 2 | ---- |  |  |  | 3890 | 11-23_26-Nov-2016
122 | TEST |  |  | A/Z = 2 | ---- |  |  |  | 7780 | 11-45_26-Nov-2016
123 | TEST |  |  | A/Z = 2 | ---- |  |  |  | 15760 | 12-00_26-Nov-2016
124 | TEST |  |  | A/Z = 2 | ---- |  |  |  | 1945 | 12-13_26-Nov-2016
125 | TEST |  |  | A/Z = 2 | ---- |  |  | Target poly 10 mm | 3890 | 12-31_26-Nov-2016
126 | TEST |  |  | A/Z = 2 | ---- |  |  | Target graph 10 mm | 3890 | 13-20_26-Nov-2016
127 | CAL |  |  | A/Z = 2 | ----
128 | TEST |  |  | A/Z = 2 | ---- |  |  | Target graph 10 mm | 3890 | 16-12_26-Nov-2016
Change beam settings to increase rate: COLL09 Momentum slit: -30mm/+30mm (was -10mm/+10mm); COLL1 Horizontal Acce. -40mm/+40mm (was -20mm/+20mm)
129 | CAL |  |  | A/Z = 2 | ----
130 | TEST |  |  | A/Z = 2 | ---- |  |  | Calib 129. SC[1] th: 1000 SC[7] th: 1000 Target graph 10 mm | 1000 | 17-48_26-Nov-2016
131 | TEST |  |  | A/Z = 2 | ---- |  |  | Calib 129. SC[1] th: 1000 SC[7] th: 1000 Target graph 10 mm | 1000 | 18-58_26-Nov-2016
Change target: polyethilene 40 mm
132 | CAL |  |  | A/Z = 2 | ----
133 | TEST |  |  | A/Z = 2 | ---- |  |  | Calib 133. SC[1] th: 1000 SC[7] th: 1000 Target polyeth 40 mm |  | 19-36_26-Nov-2016
|  | Ruslan, Philippe | [5 empty] | New DAQ system removed. All telescope and DAQ ladders (20 in total) connected to TRB's. Trigger is generated by two full scintillators. Busy signal is 7 ms. Sinchronization set up between scintillator DAQ and TRB's.
202 | CAL | Ruslan, Philippe |  | A/Z = 2 | ----
206 | TEST | Ruslan, Philippe |  | A/Z = 2 | 2114 |  |  | Stable configuration of the trigger and both DAQ's. Tested a few times. All works well. Andrii set up automatic scripts that analyse scintillator data (/dampe/data2/datageneva/BTNOV2016/SCINTILLATORS on the cluster) | 1000 | 08-44_27-Nov-2016
208 | CAL | Ruslan, Philippe |  | A/Z = 2 | ----
209 | TEST | Ruslan, Philippe |  | A/Z = 2 | 9676 | 9673-9677 |  | combined DAQ trigger rate is 300 triggers/spill, spill period is 61.2s, beam rate is 1600 particles/spill, trigger rate w/o busy 600 triggers/spill, we are slow due to 7ms dead time | 3900 | 09-53_27-Nov-2016
210 | DATA | Maria, Stefania | 0.44931 | A/Z = 2 | 2078 |  |  | Dead time was changed to 8ms, distance between two TRB triggers was modified to 3.5ms, TRB recorded 1788 events // data taking time must be no more than 30 mins // calibration runs must be done every 2 hours | 3900 | 10-55_27-Nov-2016
NIM power supply died !!! we stole one from LHCb rack !
211 | CAL | Maria, Stefania
213 | DATA | Maria, Stefania | 0.51528 | A/Z=2 | 16556 | 16556 | 32.4 |  | 3900 | 12-54_27-Nov-2016
214 | DATA | Maria, Stefania | 13:04 | A/Z=2 | 15908 | 15923 | 32.4 |  | 3900 | 13-35_27-Nov-2016
215 | DATA | Maria, Stefania | 13:43 | A/Z=2 | 16104 | 16104 | 32.4 |  | 3900 | 14-12_27-Nov-2016
216 | DATA | Maria, Stefania | 14:18 | A/Z=2 | 17076 | 17076 | 32.4 |  | 3900 | 14-47_27-Nov-2016
217 | CAL | Maria, Stefania
218 | DATA | Maria, Stefania | 15:00 | A/Z=2 | 13906 | 13906 | 32.4 | (Root File: approx 2200 events) | 3900 | 15-29_27-Nov-2016
219 | DATA | Maria, Stefania | 15:35 | A/Z=2 | 14878 | 14878 | 32.4 |  | 3900 | 16-02_27-Nov-2016
220 | DATA | Maria, Stefania | 16:07 | A/Z=2 | 13500 | 13500 | 32.4 |  | 3900 | 16-34_27-Nov-2016
221 | DATA | Valerio, Matteo, Matteo | 16:39 | A/Z=2 | 16555 | 16555 | 32.4 |  | 3900 | 17-10_27-Nov-2016
222 | CAL | Valerio, Matteo, Matteo
223 | DATA | Valerio, Matteo, Matteo | 17:15 | A/Z=2 | 14565 | 14565 | 32.1 |  | 3900 | 17-45_27-Nov-2016
224 | DATA | Valerio, Matteo, Matteo | 17:50 | A/Z=2 | 16488 | 16489 | 32.1 |  | 3900 | 18-20_27-Nov-2016
225 | DATA | Valerio, Matteo, Matteo | 18:23 | A/Z=2 | 14763 | 14763 | 32.1 |  | 3900 | 18-54_27-Nov-2016
226 | CAL | Valerio, Matteo, Matteo
227 | DATA | Valerio, Matteo, Matteo | 19:00 | A/Z=2 | 12721 | 12721 | 32.1 |  | 3900 | 19-28_27-Nov-2016
228 | DATA | Valerio, Matteo, Matteo | 19:30 | A/Z=2 | 15581 | 15882 | 32.1 |  | 3900 | 20-00_27-Nov-2016
229 | DATA | Valerio, Matteo, Matteo | 20:02 | A/Z=2 | 12684 | 12684 | 32.1 |  | 3900 | 20-28_27-Nov-2016
230 | DATA | Valerio, Matteo, Matteo | 20:30 | A/Z=2 | 13426 | 13427 | 32.1 |  | 3900 | 20-58_27-Nov-2016
231 | CAL | Valerio, Matteo, Matteo
232 | DATA | Valerio, Matteo, Matteo | 21:03 | A/Z=2 | 12067 | 12067 | 32.4 |  | 3900 | 21-29_27-Nov-2016
233 | CAL | Valerio, Matteo, Matteo | [5 empty] | New Calibration needed as 231 seems missing for one TRB
234 | DATA | Valerio, Matteo, Matteo | 21:34 | A/Z=2 | 10345 | 10345 | 46.8 |  | 3900 | 22-03_27-Nov-2016
235 | DATA | Valerio, Matteo, Matteo | 21:08 | A/Z=2 | 11515 | 11515 | 46.8 |  | 3900 | 22-38_27-Nov-2016
236 | DATA | Valerio, Matteo, Matteo | 22:40 | A/Z=2 | 9219 | 9219 | 46.8 |  | 3900 | 23-10_27-Nov-2016
237 | DATA | Valerio, Matteo, Matteo | 23:12 | A/Z=2 | 10794 | 10794 | 46.8 |  | 3900 | 23-38_27-Nov-2016
238 | CAL | Valerio, Matteo, Matteo
239 | DATA | Gianluigi, Gong | 23:47 | A/Z=2 | 15895 | 15895 | 46.8 |  | 3900 | 00-16_28-Nov-2016
240 | DATA | Gianluigi, Gong | 00:22 | A/Z=2 | 15620 | 15620 | 46.8 |  | 3900 | 00-52_28-Nov-2016
241 | DATA | Gianluigi, Gong | 00:54 | A/Z=2 | 15285 | 15285 | 46.8 |  | 3900 | 01-24_28-Nov-2016
242 | DATA | Gianluigi, Gong | 01:26 | A/Z=2 | 15017 | 15017 | 46.8 |  | 3900 | 01-55_28-Nov-2016
243 | CAL | Gianluigi, Gong
244 | DATA | Gianluigi, Gong | 02:00 | A/Z=2 | 15526 | 15526 | 46.8 |  | 3900 | 02-29_28-Nov-2016
245 | DATA | Gianluigi, Gong | 02:32 | A/Z=2 | 15516 | 15516 | 46.8 |  | 3900 | 03-02_28-Nov-2016
246 | DATA | Gianluigi, Gong | 03:05 | A/Z=2 | 15475 | 15475 | 46.8 |  | 3900 | 03-35_28-Nov-2016
247 | DATA | Gianluigi, Gong | 03:37 | A/Z=2 | 15529 | 15529 | 46.8 |  | 3900 | 04-07_28-Nov-2016
248 | CAL | Gianluigi, Gong
249 | DATA | Gianluigi, Gong | 04:12 | A/Z=2 | 10592 | 10592 | 46.8 |  | 3900 | 04-31_28-Nov-2016
250 | DATA | Gianluigi, Gong | 04:34 | A/Z=2 | 12890 | 12890 | 46.8 |  | 3900 | 05-00_28-Nov-2016
251 | DATA | Gianluigi, Gong | 05:02 | A/Z=2 | 13734 | 13734 | 46.8 |  | 3900 | 05-29_28-Nov-2016
252 | DATA | Gianluigi, Gong | 05:30 | A/Z=2 | 14284 | 14284 | 46.8 |  | 3900 | 05-59_28-Nov-2016
257 | CAL | Stephan, Ruslan, Giovanni
258 | DATA | Stephan, Ruslan | 19:45 | A/Z=2 | 10375 | 10377 | 46.8 | Scintillator slabs installed in front of DUT | 3900 | 20-35_28-Nov-2016
260 | CAL | Stephan, Ruslan
261 | DATA | Stephan | 20:59 | A/Z=2 | 10876 | 10876 | 31.2 | different spill period | 3900 | 21-30_28-Nov-2016
262 | DATA | Stephan | 21:34 | A/Z=2 | 9144 | 9144 | 31.2 |  | 3900 | 22-00_28-Nov-2016
263 | DATA | Stephan | 22:03 | A/Z=2 | 12814 | 12814 | 31.2 | lost beam around 22:30 | 3900 | 22-31_28-Nov-2016
264 | DATA | Stephan | 22:41 | A/Z=2 | 15264 | 15264 | 31.2 |  | 3900 | 23-11_28-Nov-2016
265 | DATA | Stephan | 23:14 | A/Z=2 | 272588 | 1943 | 31.2 | stopped run due to high trigger rate (1-2 kHz) in charge_id at 23.20 | 3900 | 23-20_28-Nov-2016
267 | CAL | Stephan
268 | DATA | Stephan, Gong | 23:25 | A/Z=2 | 15160 | 15160 | 31.2 | OBS: started in compressed mode w/ run #300, reverted back to raw mode since run #307 | 3900 | 00-01_29-Nov-2016
307 | CAL | Stephan, Gong, Gianluigi, Philippe | [5 empty] | calibration run
308 | DATA | Stephan, Gong, Gianluigi | 02:55 | A/Z=2 | 15779 | 15779 | 31.2 | back to raw mode | 3900 | 03-33_29-Nov-2016
309 | DATA | Stephan, Gong, Gianluigi | 03:36 | A/Z=2 | 13130 | 13130 | 31.2 |  | 3900 | 04-06_29-Nov-2016
310 | DATA | Stephan, Gong, Gianluigi | 04:08 | A/Z=2 | 15876 | 15876 | 31.2 |  | 3900 | 04-46_29-Nov-2016
311 | DATA | Stephan, Gong, Gianluigi | 04:53 | A/Z=2 | 16240 | 16240 | 46.8 | chang spill time to 46.8 | 3900 | 05-28_29-Nov-2016
314 | CAL | Stephan, Gong, Gianluigi | [5 empty] | calibration run
315 | DATA | Stephan, Gong, Gianluigi | 05:40 | A/Z=2 | 10433 | 10433 | 46.8 |  | 3900 | 06-11_29-Nov-2016
316 | DATA | Stephan, Gong, Gianluigi | 06:13 | A/Z=2 | 9574 | 9574 | 31.2 | spill period changed | 3900 | 06-44_29-Nov-2016
317 | DATA | Stephan, Gong, Gianluigi | 06:48 | A/Z=2 | 15019 | 14743 | 31.2 |  | 3900 | 07-18_29-Nov-2016
319 | CAL | Stephan, Gong | [5 empty] | new CAL run after TRB/Scintillator event mismatch in run #317
320 | DATA | Stephan, Gong | 07:29 | A/Z=2 | 12797 | 12797 | 31.2 | no beam since 07:58 | 3900 | 08-00_29-Nov-2016
321 | DATA | Stephan, Gong | 08:00 | A/Z=2 | 16499 | 16499 | 38.4 | Beam recovered at 08:05 | 3900 | 08-41_29-Nov-2016
Berillium only downstream